## History
DESCRIPTION | Model | Maker | NOTE
클린부스 |  |  | 220V 2.5Sqmm 날선 2개 연결 콘센트 스페어 있음
집진기 |  |  | Justem -> 듀크린 // 케이블 제공 길이 전달 예정
Hooper/feeder
Bag filter |  |  | 스위치로 동작 매뉴얼 동작
유량계
진공 센서 | HVG-12020A | inforad

## 전기용량표
한화 모멘텀 // 파우더CVD 전기 용량표
DESCRIPTION | Breaker DT | Breaker model | Breaker maker | Controller DT | Contorller model | Contorller maker | Load DT | Load model | Load maker | NOTE | V | Phase | Multiplier | 상분리 | W | A | W | A(Load) | A(차단기) | R | S | T | N
GPS 208V 3Phase
TATAL | G1.MCCB1 | ABS53c/50A | LSE | G1.MC1 | MC-22b/DC24V 1a1b | LGE | G1.MC2 | MC-22b/DC24V 1a1b | LGE |  | 208 | 3 | 1.25 |  |  |  | 9607.592 | 26.6688 | 33.336 | 27.5606 | 28.6906 | 29.3033 | 0
실사용량(최대전력 * 0.5)
상 전류 불평등률 | [18 empty] | 6.111%
저스템2공장 Main_Panel | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
클린부스 | [6 empty] | G0.CB1 |  |  | 220V VCTF 2.5Sqmm*3C 날선 2개 연결 // 콘센트 스페어 있음 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
집진기1 | [6 empty] | G0.DC1 |  |  | 케이블 제공 길이 전달 예정 // 220V 3phase 5A MCCB | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
집진기2 | [6 empty] | G0.DC2 |  |  | 케이블 제공 길이 전달 예정 // 220V 3phase 5A MCCB | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
MAIN_PANEL | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
MC1st | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
FL, FAN POWER | G1.CP1 | GCP-32ANM1A | Honeywell | G1.SMPS1 | UNO2-PS/1AC/24DC/120W | Phoenix contact | G1.LMT1 | KH-9015-HRL | Koino |  | 208 | 1 | 1.25 | RS |  | 1.26 | 262.08 | 1.26 | 1.575 | 1.26 | 1.26 | 0 | 0
| G1.CP2 | GCP-32ANM1A | Honeywell |  |  |  | G1.FL1 | QELT-300-24 | Q-Light | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| G1.CP3 | GCP-32ANM3A | Honeywell |  |  |  | G1.FAN1 | 11938KA-24L-EL | NMB | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | G1.FAN2 | 11938KA-24L-EL | NMB | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
PL | G1.CP4 | GCP-32ANM1A | Honeywell |  |  |  | G1.PL4 | KGP-JV2W | KG Auto |  | 208 | 1 | 1.25 | RS |  | 0.014 | 2.912 | 0.014 | 0.0175 | 0.014 | 0.014 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power monitor | G1.CP11 | GCP-32ANM1A | Honeywell |  |  |  | G1.PM11 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Temp controller | G1.CP12 | GCP-32ANM1A | Honeywell |  |  |  | G1.TPC12 | TC4S-24N | Autonics |  | 208 | 1 | 1.25 | RS | 5 |  | 5 | 0.024038 | 0.030048 | 0.024038 | 0.024038 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dry pump | G1.MCCB11 | ABS33C/30A | LSE |  |  |  | G1.DP11 | MS1200A | Ulvac |  | 208 | 3 | 1.5 | RST | 5300 |  | 5300 | 14.7118 | 22.0676 | 14.7118 | 14.7118 | 14.7118 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bag filter | G1.MCCB12 | ABS32C/15A | LSE |  |  |  | G1.B/F12 |  |  | 220V VCTF 1.5Sqmm*3C 1.5 Y로 연결 | 208 | 1 | 2.5 | RT | 1400 |  | 1400 | 6.7308 | 16.8269 | 6.7308 | 0 | 6.7308 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
PLC Power | G1.CP21 | GCP-32ANM1A | Honeywell | G1.SMPS21 | UNO2-PS/1AC/24DC/120W | Phoenix contact | G1.PLCP21 | Q63P | Mitsubishi |  | 208 | 1 | 1.25 | RS |  | 1.26 | 262.08 | 1.26 | 1.575 | 1.26 | 1.26 | 0 | 0
Safety Power | G1.CP22 | GCP-32ANM1A | Honeywell | G1.SMPS22 | UNO2-PS/1AC/24DC/120W | Phoenix contact | G1.SC22 | PNOZ s3 24VDC 2n/o | Pliz |  | 208 | 1 | 1.25 | RS |  | 1.26 | 262.08 | 1.26 | 1.575 | 1.26 | 1.26 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
DC Power | G1.CP31 | GCP-32ANM3A | Honeywell | G1.SMPS31 | UNO2-PS/1AC/24DC/480W | Phoenix contact |  |  |  |  | 208 | 1 | 1.25 | RS |  | 2.3 | 478.4 | 2.3 | 2.875 | 2.3 | 2.3 | 0 | 0
| G1.CP32 | GCP-32ANM10A | Honeywell |  |  |  | G1.TBDD32 | XTB-COM18T | Samwon ACT | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| G1.CP33 | GCP-32ANM3A | Honeywell |  |  |  | G1.APC33 | GT-800 | Genius | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| G1.CP34 | GCP-32ANM2A | Honeywell |  |  |  | G1.GOT34 | GT2710-STBD | Mitsubishi | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| G1.CP35 | GCP-32ANM2A | Honeywell |  |  |  | G1.HUB35 |  | Phoenix contact | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
MC2nd | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hooper/feeder | G1.MCCB51 | ABS32C/20A | LSE |  |  |  | G1.H/F51 |  |  |  | 208 | 1 | 2.5 | ST | 1400 |  | 1400 | 6.7308 | 16.8269 | 0 | 6.7308 | 6.7308 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
DC Actuator | G1.CP52 | GCP-32ANM2A | Honeywell | G1.SMPS52 | UNO2-PS/1AC/24DC/240W | Phoenix contact | G1.TBDD52 | XTB-COM18T | Samwon ACT | Safety Relay 를 통하여 비상 상황 시, 전원차단(2중화) | 208 | 1 | 1.25 | ST |  | 1.13 | 235.04 | 1.13 | 1.4125 | 0 | 1.13 | 1.13 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0

## PLC 구성도
PLC 구성도
위치 | 품명 | 용도 | 비고
Main Panel
B | Q38B |  |  | 485
P | Q63P
C | Q03UDVCPU | Ehternet- Hand Touch | Hub 사용
1 | QJ61BT11N | CC-link | I/O
2 | QJ71C24N |  | RS-232: APC(아날로그 포함) | RS-485: H/F
3 | Dummy
4 | Dummy
5 | Dummy
Dummy
Dummy
Dummy
Dummy
Dummy
Dummy
Dummy

## IO list
I/O List |  | X1000, Y1000 부터 시작하며 아날로그는 Station 11부터 시작
MODEL | ADD | COMMENT | 접점 | 비고 | MODEL | ADD | COMMENT | 접점 | 비고
Main Panel
Digital In/Out Put | X1000 | G1.TPC12 // Panel temp alarm signal | a |  |  | Y1010 | G1.BZ1 // Buzzer ch1 on | a |  | Digital In Put | 1
| X1001 | G1.MC1,2 // Main MC1,2 signal | a |  |  | Y1011 |  |  |  | Digital Out Put | 0
| X1002 |  |  |  |  | Y1012 |  |  |  | Digital In Put(16ch) | 1
| X1003 | G1.EMO1 // Main panel EMO swtich signal | a |  |  | Y1013 |  |  |  | Digital Out Put(16ch) | 1
| X1004 | G1.EMO2 // Moving touch panel EMO swtich signal | a |  |  | Y1014 | G1.TL1 // Main panel tower lamp RD on | a |  | Analog Out Put | 3
| X1005 | G1.EMO3 // Cyclone EMO swtich signal | a |  |  | Y1015 | G1.TL1 // Main panel tower lamp YL on | a |  | Analog In Put | 3
| X1006 |  |  |  |  | Y1016 | G1.TL1 // Main panel tower lamp GN on | a |  | Analog Out Put | 1
| X1007 | G1.PBSR1 // Main panel Reset swtich signal | a |  |  | Y1017 | G1.PBSR1 // Main panel Reset swtich lamp on |  | 1sec 주기 점멸 사용 | Analog In/Out Put | 0
| X1008 | G1.PBSR2 // Moving touch panel Reset swtich signal | a |  |  | Y1018 | G1.PBSR2 // Moving touch panel Reset swtich lamp on |  | 1sec 주기 점멸 사용 | Safety In Put | 0
| X1009 |  |  |  |  | Y1019 |  |  |  | Safety Out Put | 0
| X100A | G1.CP22 // Safety PLC SMPS CP signal | a |  |  | Y101A |  |  |  | Safety In/Out Put | 0
| X100B |  |  |  |  | Y101B
| X100C |  |  |  |  | Y101C
| X100D |  |  |  |  | Y101D
| X100E | G1.FAN1 // Main panel fan1 signal | a |  |  | Y101E
| X100F | G1.FAN2 // Main panel fan2 signal | a |  |  | Y101F
Digital In/Out Put | X1020 | G1.DP11 // Dry pump: start check signal | a | Out com 0V 연결 |  | Y1030 | G1.DP11 // Dry pump: start on | a | Relay 사용
| X1021 | G1.DP11 // Dry pump: alarm signal | a | Out com 0V 연결 |  | Y1031 | G1.DP11 // Dry pump: alarm reset on | a | Relay 사용
| X1022 |  |  |  |  | Y1032 | G1.DP11 // Dry pump: external error on | a | Relay 사용
| X1023 |  |  |  |  | Y1033
| X1024 | G1.H/F51 // Hooper feeder: being put in signal | a | (용도번호2: 투입중) |  | Y1034 | G1.H/F51 // Hooper feeder: being put in on | c | Relay 사용(용도번호19: 투입개시명령)
| X1025 | G1.H/F51 // Hooper feeder: running signal | a | (용도번호1: 기동중) |  | Y1035 | G1.H/F51 // Hooper feeder: being put in stop on | c | Relay 사용(용도번호22: 투입정지)
| X1026 | G1.H/F51 // Hooper feeder: alarm signal | a | (용도번호19: 경보출력) |  | Y1036 | G1.H/F51 // Hooper feeder: feeder running on | a | Relay 사용(용도번호20: 피터기동명령)
| X1027 |  |  |  |  | Y1037 | G1.H/F51 // Hooper feeder: feeder stop on | a | Relay 사용(용도번호21: 피터정지명령)
| X1028 |  |  |  |  | Y1038 | G1.H/F51 // Hooper feeder: alarm reset on | a | Relay 사용(용도번호4: 경보리셋)
| X1029 |  |  |  |  | Y1039
| X102A | G0.DC1 // Dust collector: run (on) status signal | a | Pin no: 16(17com) |  | Y103A | G0.DC1 // Dust collector: Run on | a | Pin no: 10,12 // Relay 사용
| X102B | G0.DC1 // Dust collector: Alarm (on) signal | a | Pin no: 14(15com) |  | Y103B
| X102C |  |  |  |  | Y103C
| X102D | G0.DC2 // Dust collector: Run (on) status signal | a | Pin no: 16(17com) |  | Y103D | G0.DC2 // Dust collector: Run on | a | Pin no: 10,12 // Relay 사용
| X102E | G0.DC2 // Dust collector: Alarm (on) signal | a | Pin no: 14(15com) |  | Y103E
| X102F |  |  |  |  | Y103F
Digital In Put | X1040 | N2 Dry pump preesure swtich signal | a |  |  | X1050 | Process in valve open signal
| X1041 | CDA Sol manifold preesure swtich signal | a |  |  | X1051 | Process in valve close signal
| X1042 |  |  |  |  | X1052
| X1043 | Process in preesure swtich1 signal | a |  |  | X1053
| X1044 | Process in preesure swtich2 signal | a |  |  | X1054 | H/F exhaust valve open signal
| X1045 | Process in preesure swtich3 signal | a |  |  | X1055 | H/F exhaust valve close signal
| X1046 |  |  |  |  | X1056
| X1047 | Process in preesure swtich signal | a |  |  | X1057
| X1048 | Process out preesure swtich signal | a |  |  | X1058 | Process out vacuum1 gauge valve open signal
| X1049 |  |  |  |  | X1059 | Process out vacuum1 gauge valve close signal
| X104A | Dry pump preesure swtich signal | a |  |  | X105A | Process out vacuum2 gauge valve open signal
| X104B |  |  |  |  | X105B | Process out vacuum2 gauge valve close signal
| X104C |  |  |  |  | X105C
| X104D |  |  |  |  | X105D
| X104E |  |  |  |  | X105E | Bag filter in valve open signal
| X104F |  |  |  |  | X105F | Bag filter in valve close signal
MODEL | ADD | COMMENT | 접점 | MAKER |  | ADD | COMMENT | 접점 | MAKER
Digital In/Out Put | X1060 | Dry pump roughing valve open signal |  |  |  | Y1070 | Process in valve open on
| X1061 | Dry pump roughing valve close signal |  |  |  | Y1071
| X1062 | Line exhaust valve open signal |  |  |  | Y1072 | H/F exhaust valve open on
| X1063 | Line exhaust valve close signal |  |  |  | Y1073
| X1064 |  |  |  |  | Y1074 | Process out vacuum1 gauge valve open on
| X1065 |  |  |  |  | Y1075 | Process out vacuum2 gauge valve open on
| X1066 |  |  |  |  | Y1076
| X1067 |  |  |  |  | Y1077 | Bag filter in valve open on
| X1068 |  |  |  |  | Y1078 | Dry pump slow roughing valve open on
| X1069 |  |  |  |  | Y1079 | Dry pump fast roughing valve open on
| X106A |  |  |  |  | Y107A | Line exhaust valve open on
| X106B |  |  |  |  | Y107B
| X106C |  |  |  |  | Y107C
| X106D |  |  |  |  | Y107D
| X106E |  |  |  |  | Y107E
| X106F |  |  |  |  | Y107F
Digital In Put(16ch) | X1080 | Main supply1 valve open signal |  | PNP | Digital Out Put(16ch) | Y10A0 | Main supply1 valve open on |  | In put power
| X1081 | Main supply1 valve close signal |  | PNP |  | Y10A1 | Main supply2 valve open on |  | In put power
| X1082 | Main supply2 valve open signal |  | PNP |  | Y10A2 | Main supply3 valve open on |  | In put power
| X1083 | Main supply2 valve close signal |  | PNP |  | Y10A3 | H/F supply valve open on |  | In put power
| X1084 | Main supply3 valve open signal |  | PNP |  | Y10A4 |  |  | In put power
| X1085 | Main supply3 valve close signal |  | PNP |  | Y10A5 |  |  | In put power
| X1086 | H/F supply valve open signal |  | PNP |  | Y10A6 |  |  | In put power
| X1087 | H/F supply valve close signal |  | PNP |  | Y10A7 |  |  | In put power
| X1088 |  |  | PNP |  | Y10A8 |  |  | In put power
| X1089 |  |  | PNP |  | Y10A9 |  |  | In put power
| X108A |  |  | PNP |  | Y10AA |  |  | In put power
| X108B |  |  | PNP |  | Y10AB |  |  | In put power
| X108C |  |  | PNP |  | Y10AC |  |  | In put power
| X108D |  |  | PNP |  | Y10AD |  |  | In put power
| X108E |  |  | PNP |  | Y10AE |  |  | In put power
| X108F |  |  | PNP |  | Y10AF |  |  | In put power
Analog In Put | AI00 | Process in flow meter |  | 4~20mA | Analog In Put | AI10 | Process out vacuum1 gauge |  | 0~20mA
| AI01 | Process in DP gauge meter |  | 4~20mA |  | AI11 | Process out vacuum2 gauge(spare)
| AI02 | Process DP gauge meter |  | 4~20mA |  | AI12 | Process out DP gauge meter |  | 4~20mA
| AI03 |  |  |  |  | AI13
Analog In Put | AI20 | Dry pump vacuum gauge |  | 0~20mA | Analog Out Put | DAV30 | Dry pump APC valve |  | 0~10V
| AI21 | Dry pump roughing vacuum gauge |  | 0~10V |  | DAV31
| AI22 |  |  |  |  | DAV32
| AI23 |  |  |  |  | DAV33